FIRE-FARM-11/00

FIRE  - SAFE CONTEST

# FARM FIRE – HAZARD REPORT

CAUTION: - Complete hazard identification activities with parent, guardian or property owner present. - Do not handle or dismantle any electrical component during hazard identification activities.

|  | Yes | No | Does Not Apply | Hazard Corrected |
| --- | --- | --- | --- | --- |
| ### ELECTRICAL |  |  |  |  |
| 1. Are all electrical outlets grounded so as to accommodate grounded (3 – wire) appliances and equipment? | ٱ | ٱ | ٱ | ٱ |
| 2. Are all junction boxes, outlets, switches and fittings covered with no exposed wires or terminals? | ٱ | ٱ | ٱ | ٱ |
| - 3. Are electric wires firmly supported or in conduit? | ٱ | ٱ | ٱ | ٱ |
| 4. Does the wiring insulation appear in good condition, (not cracked, broken or brittle)? | ٱ | ٱ | ٱ | ٱ |
| 5. Are there enough convenience outlets to eliminate the need for “makeshift” wiring and the use of long extension cords? | ٱ | ٱ | ٱ | ٱ |
| 6. Are only heavy-duty rubber-covered cords used outside in damp locations and on motorized equipment? | ٱ | ٱ | ٱ | ٱ |
| 7. Are all extension cords free from frays, broken areas, or cracked plugs? | ٱ | ٱ | ٱ | ٱ |
| 8. Do all electrical appliances and equipment items carry the “U.L.” label? | ٱ | ٱ | ٱ | ٱ |
| 9. Are there extra fuses of the correct size located near each fuse box? | ٱ | ٱ | ٱ | ٱ |
| 10. Are heat lamps used only in porcelain receptacles, suspended at least 18 inches above flammable material, kept out of reach of livestock and equipped with a guard over the face of the reflector? | ٱ | ٱ | ٱ | ٱ |
| 11. Are light bulbs protected by metal guards when exposed to livestock? | ٱ | ٱ | ٱ | ٱ |
| - Are electric motors located such that there is ample ventilation? | ٱ | ٱ | ٱ | ٱ |
| - Are electric motors kept free of dust, chaff, and other combustible material? | ٱ | ٱ | ٱ | ٱ |
| - Are dust proof motors used in extremely dry areas? | ٱ | ٱ | ٱ | ٱ |
| #### LIGHTNING PROTECTION |  |  |  |  |
| 1. Do major farm buildings have approved “Master Label” Lightning protection systems? | ٱ | ٱ | ٱ | ٱ |
| 2. Are the lightning rod cables free from breaks? | ٱ | ٱ | ٱ | ٱ |
| - 3. Are the points in good condition and on all high projections, cupolas, gables, silos, etc.? | ٱ | ٱ | ٱ | ٱ |
| 4. Are all metal stanchions, door tracks, eavespouts, etc., within 6 feet of a lightning rod cable interconnected into the system? | ٱ | ٱ | ٱ | ٱ |
| 5. Are metal roofs securely grounded to the lightning rod system? | ٱ | ٱ | ٱ | ٱ |
| 6. Are all lightning rod cables located away from fuel storage areas and LPG storage tanks? | ٱ | ٱ | ٱ | ٱ |
| FLAMMABLE LIQUIDS AND GASES |  |  |  |  |
| 1. Are above ground gasoline storage tanks of 61 to 1,100 gallon capacity kept at least 40 feet from any building? | ٱ | ٱ | ٱ | ٱ |
| 2. Are labeled safety cans used in storing and handling small quantities of gasoline and other flammable liquids? | ٱ | ٱ | ٱ | ٱ |
| - Is the area near fuel storage tanks kept free of weeds and other easily combustible materials? | ٱ | ٱ | ٱ | ٱ |
| 4. Are there “NO SMOKING” signs displayed near fuel storage and refueling areas and in livestock confinement buildings where methane may be present? | ٱ | ٱ | ٱ | ٱ |
| 5. Is there a charged fire extinguisher readily accessible in fuel storage and refueling areas? | ٱ | ٱ | ٱ | ٱ |
| 6. Are LPG containers located outside buildings? | ٱ | ٱ | ٱ | ٱ |
| 7. Are LPG containers located on solid foundations? | ٱ | ٱ | ٱ | ٱ |
| 8. Are LPG containers located at least 5 feet away from windows, doors or other building openings? | ٱ | ٱ | ٱ | ٱ |
| 9. Are LPG valves and regulators covered for protection from weather or damage? | ٱ | ٱ | ٱ | ٱ |
| FARM SHOP |  |  |  |  |
| - Is the welding and metal working area free of readily combustible materials? | ٱ | ٱ | ٱ | ٱ |
| - Is there a charged fire extinguisher readily accessible in the shop? | ٱ | ٱ | ٱ | ٱ |
| - If painting is done is there ample ventilation to remove fumes from work area? | ٱ | ٱ | ٱ | ٱ |
| - Are all cleaning rags kept in a sturdy closed metal container in a well-ventilated area of the shop? | ٱ | ٱ | ٱ | ٱ |
| - Are solvents, paints, starter fluids, etc., stored in their original containers and protected from potential ignition sources? | ٱ | ٱ | ٱ | ٱ |
| - Are “NO SMOKING” signs posted near electric battery charging units? | ٱ | ٱ | ٱ | ٱ |
| - Is heating equipment located away from combustible materials? | ٱ | ٱ | ٱ | ٱ |
| - Are pesticides, fertilizers and other agricultural chemicals stored away from fuels and potential sources of ignition? | ٱ | ٱ | ٱ | ٱ |
| - Is trash burned away from buildings and fuel storage areas? | ٱ | ٱ | ٱ | ٱ |
| CROP STORAGE AREAS |  |  |  |  |
| - Are crops harvested at appropriate moisture levels to prevent spontaneous heating while in storage? | ٱ | ٱ | ٱ | ٱ |
| - Is stored hay checked at regular intervals for signs of heating? | ٱ | ٱ | ٱ | ٱ |
| - Are hay storage areas well ventilated? | ٱ | ٱ | ٱ | ٱ |
| - Are limited-oxygen silos kept sealed at all times except when loading or unloading? | ٱ | ٱ | ٱ | ٱ |
| - Are light bulbs in hay and grain storage areas protected by glass guards? | ٱ | ٱ | ٱ | ٱ |
| - Is equipment used in crop storage areas regularly maintained to prevent overheated bearings and belts, slapping chains and sparks from engine exhaust systems? | ٱ | ٱ | ٱ | ٱ |
| - Are “NO SMOKING” signs posted in crop storage areas? | ٱ | ٱ | ٱ | ٱ |
| - Is there a charged fire extinguisher readily available in each crop storage area? | ٱ | ٱ | ٱ | ٱ |
| FARM MACHINERY |  |  |  |  |
| 1. Is there a charged fire extinguisher located on each tractor and self-propelled machine? | ٱ | ٱ | ٱ | ٱ |
| 2. Is fuel powered equipment shut off and allowed to cool before refueling? | ٱ | ٱ | ٱ | ٱ |
| 3. Are all tractors and self-propelled equipment kept free of fuel leaks and all engine and exhaust system surfaces kept free of combustible materials (grease, chaff, crop residue, etc.)? | ٱ | ٱ | ٱ | ٱ |
| 4. Are exhaust systems in good condition and engines properly tuned to prevent sparks and backfiring? | ٱ | ٱ | ٱ | ٱ |
| IN CASE OF FIRE |  |  |  |  |
| 1. Is the local Fire Department’s telephone number located prominently on every telephone? | ٱ | ٱ | ٱ | ٱ |
| 2. Does each member of the family who is old enough to use the phone and every farm employee know how to call the Fire Department? | ٱ | ٱ | ٱ | ٱ |
| - Is the farm clearly identified by a fire number or other sign to assist location of the farm by the Fire Department? | ٱ | ٱ | ٱ | ٱ |
| 4. Has information been made available to local firemen and neighbors about such things as: fuse boxes, LPG and fuel storage, equipment storage areas, chemical storage and water supply? | ٱ | ٱ | ٱ | ٱ |
| 5. Are extinguishers selected for the types of combustibles and flammables in the areas where they will be used? Class A – Ordinary combustible material fires Class B – Flammable liquid or grease fires Class C – Electrical equipment fires Class A, B, C – All purpose | ٱ | ٱ | ٱ | ٱ |
| 6. Are all extinguishers fully charged and properly serviced on a regular basis (once a year)? | ٱ | ٱ | ٱ | ٱ |
| 7. Are all members of the family who are old enough to handle an extinguisher, and every farm employee, familiar with using a fire extinguisher? | ٱ | ٱ | ٱ | ٱ |
| 8. Is there a ladder readily available which is long enough to reach the roof of the tallest building on the farm? | ٱ | ٱ | ٱ | ٱ |
| 9. Is there a garden hose available for instant use in each major building? | ٱ | ٱ | ٱ | ٱ |
| 10. Has provision been made so that water is available in subfreezing weather? | ٱ | ٱ | ٱ | ٱ |

###### LIST OF MAJOR HAZARDS IDENTIFIED

Corrected

Yes	No

| 1. |  |
| --- | --- |
| 2. |  |
| 3. |  |
| 4. |  |
| 5. |  |
| 6. |  |
| 7. |  |
| 8. |  |
| 9. |  |
| 10. |  |

##### PROOF OF COMPLETING HAZARD IDENTIFICATION ACTIVITY

I__________________________________________________________certify that

(Property owner, parent, guardian)

_______________________________________________has personally inspected

(Name of Club or Chapter Member)

my farm buildings for potential fire hazards___________________

(Date)