FIRE-HOME-11/00

FIRE  - SAFE CONTEST

# HOME FIRE – HAZARD REPORT

CAUTION: - Complete hazard identification activities with parent, guardian or property owner present. - Do not handle or dismantle any electrical component during hazard identification activities.

|  | Yes | No | Does Not Apply | Hazard Corrected |
| --- | --- | --- | --- | --- |
| ### ELECTRICAL |  |  |  |  |
| 1. Are all electrical outlets grounded so as to accommodate grounded (3 – wire) appliances and equipment? | ٱ | ٱ | ٱ | ٱ |
| 2. Are all junction boxes, outlets, switches and fittings covered with no exposed wires or terminals? | ٱ | ٱ | ٱ | ٱ |
| - 3. Are electric wires firmly supported or in conduit? | ٱ | ٱ | ٱ | ٱ |
| 4. Does the wiring insulation appear in good condition, (not cracked, broken or brittle)? | ٱ | ٱ | ٱ | ٱ |
| 5. Are there enough convenience outlets throughout the home to eliminate the need for “makeshift” wiring and the use of long extension cords? | ٱ | ٱ | ٱ | ٱ |
| 6. Are all extension cords free from frays, broken areas, or cracked plugs? | ٱ | ٱ | ٱ | ٱ |
| 7. Do all electrical appliances and equipment used in the home carry the “U.L.” label? | ٱ | ٱ | ٱ | ٱ |
| 8. If extension cords are used, are they properly located – not hung on nails, run through doorways or under rugs? | ٱ | ٱ | ٱ | ٱ |
| 9. Are there extra fuses of the correct size located near each fuse box? | ٱ | ٱ | ٱ | ٱ |
| #### HEATING AND COOKING |  |  |  |  |
| 1. Is the furnace maintained and adjusted by a competent service man at least once each year? | ٱ | ٱ | ٱ | ٱ |
| 2. Is the furnace room kept clean and free of combustible materials? | ٱ | ٱ | ٱ | ٱ |
| - 3. Are fuel oil tanks vented to outside of the building? | ٱ | ٱ | ٱ | ٱ |
| 4. Are fuel oil tanks and fuel lines free of obvious leaks? | ٱ | ٱ | ٱ | ٱ |
| 5. Is there a charged fire extinguisher readily available in the furnace room? | ٱ | ٱ | ٱ | ٱ |
| 6. Is the door to the furnace room tightly fitted and kept closed at night? | ٱ | ٱ | ٱ | ٱ |
| 7. Is the area around the hot water heater kept free of combustible materials? | ٱ | ٱ | ٱ | ٱ |
| 8. Are LPG containers providing fuel for heating and cooking located outside of buildings? | ٱ | ٱ | ٱ | ٱ |
| 9. Are LPG containers located on solid foundations? | ٱ | ٱ | ٱ | ٱ |
| 10. Are LPG containers located at least 5 feet away from windows, doors or other building openings? | ٱ | ٱ | ٱ | ٱ |
| 11. Are LPG valves and regulators covered for protection from weather or damage? | ٱ | ٱ | ٱ | ٱ |
| 12. Is the fuel line for an oil or LPG burning stove, heater or furnace equipped with a shut-off valve near the fuel tank? | ٱ | ٱ | ٱ | ٱ |
| 13. Are stoves and other cooking equipment kept clean and free of grease accumulations? | ٱ | ٱ | ٱ | ٱ |
| 14. Are storage compartments under or over stoves and ovens used to store only non-combustible items? | ٱ | ٱ | ٱ | ٱ |
| 15. Are curtains near stoves arranged as to prevent their blowing over the burners or flames? | ٱ | ٱ | ٱ | ٱ |
| 16. Is there a charged fire extinguisher of the appropriate type readily available in the kitchen? | ٱ | ٱ | ٱ | ٱ |
| WOOD BURNING STOVES AND FIREPLACES |  |  |  |  |
| 1. Is the stove the correct size for the size of the room that will be heated? | ٱ | ٱ | ٱ | ٱ |
| 2. Is the stove free from broken parts or cracks that make it unsafe to operate? | ٱ | ٱ | ٱ | ٱ |
| - Has a layer of sand or firebrick been placed on the bottom and / or sides of firebox if suggested by the manufacturer? | ٱ | ٱ | ٱ | ٱ |
| 4. Is the stove located on a non-combustible floor or is there an approved floor protection material placed beneath the stove? | ٱ | ٱ | ٱ | ٱ |
| 5. Does floor protection extend out at least 12 inches from front opening? | ٱ | ٱ | ٱ | ٱ |
| 6. Is there a minimum of 36 inches between the stove and combustible materials? If not, is a fire-resistant material used to protect woodwork and other combustible materials? | ٱ | ٱ | ٱ | ٱ |
| 7. Is there a screen provided for use on open front type stoves and fireplaces? | ٱ | ٱ | ٱ | ٱ |
| 8. Is there a charged extinguisher of the appropriate type readily available? | ٱ | ٱ | ٱ | ٱ |
| 9. Is small kindling or paper used to start fires rather than flammable liquids? | ٱ | ٱ | ٱ | ٱ |
| 10. Is a metal container with a tight-fitting lid available for ash disposal? | ٱ | ٱ | ٱ | ٱ |
| 11. If the stove or fireplace has been recently installed, has the insurance company been notified? | ٱ | ٱ | ٱ | ٱ |
| STOVE PIPES AND CHIMNEYS |  |  |  |  |
| - Is welded seam, 26 gauge or thicker, stovepipe used on all wood burning stoves? | ٱ | ٱ | ٱ | ٱ |
| - Is the total length of stovepipe used on a woodburning stove less than 10 ft? | ٱ | ٱ | ٱ | ٱ |
| - Are all stovepipe joints tightly connected by rivets, screws or corrugated sleeve joints? | ٱ | ٱ | ٱ | ٱ |
| - Does stovepipe enter chimney without passing through a floor, closet, concealed space or the attic? | ٱ | ٱ | ٱ | ٱ |
| - Is a multi-walled ventilation metal thimble used where the stovepipe goes through any interior wall? | ٱ | ٱ | ٱ | ٱ |
| - Does the stovepipe enter the chimney horizontally? | ٱ | ٱ | ٱ | ٱ |
| - Is the stovepipe flush with chimney flue lining, not extending into the chimney? | ٱ | ٱ | ٱ | ٱ |
| - Is there an air-tight connection between the stovepipe and thimble? | ٱ | ٱ | ٱ | ٱ |
| - Is there no other equipment such as an oil or gas heater or furnace connected to the same chimney flue as the wood burning stove or fireplace? | ٱ | ٱ | ٱ | ٱ |
| 10. Does the chimney extend at least 3 feet above the highest point where it passes through the roof and at least 2 feet higher than any portion of the building within 10 feet of it? | ٱ | ٱ | ٱ | ٱ |
| 11. Is the chimney in good repair with no loose bricks, masonry cracks or rotten mortar? | ٱ | ٱ | ٱ | ٱ |
| 12. Is the chimney flue lining free from heavy soot deposits, creosote coating bird nests, leaves and other debris? | ٱ | ٱ | ٱ | ٱ |
| 13. Are all unused stovepipe openings in chimneys closed with fireproof flue stops? | ٱ | ٱ | ٱ | ٱ |
| ROOFS |  |  |  |  |
| - Is the roofing material fire resistant? | ٱ | ٱ | ٱ | ٱ |
| - Are eavespouts, troughs and roof valleys kept clean of leaves and trash? | ٱ | ٱ | ٱ | ٱ |
| TV ANTENNA |  |  |  |  |
| 1. Is the TV mast or tower sturdily erected, supported with three or more guy wires, and not attached to the chimney? | ٱ | ٱ | ٱ | ٱ |
| 2. Is the mast or tower located so that if it were to fall, it would fall clear or electrical wires? | ٱ | ٱ | ٱ | ٱ |
| 3. Is the mast or tower grounded? | ٱ | ٱ | ٱ | ٱ |
| - Is a grounded lightning arrester installed on the lead-in wire to the television? | ٱ | ٱ | ٱ | ٱ |
| GARAGES AND STORAGE AREAS |  |  |  |  |
| 1. Are garages, attics, closets and other storage areas kept free of unnecessary combustible materials or flammable fluids? | ٱ | ٱ | ٱ | ٱ |
| 2. Are oily, greasy or paint-soaked rags stored in a tightly covered metal container in a well-ventilated area? | ٱ | ٱ | ٱ | ٱ |
| 3. Are all flammable fluids stored in the original containers or approved safety cans (never glass containers)? | ٱ | ٱ | ٱ | ٱ |
| 4. If the garage is used for a work area is there a charged fire extinguisher readily available? | ٱ | ٱ | ٱ | ٱ |
| OTHER HOME FIRE HAZARDS |  |  |  |  |
| 1. Are matches kept in metal containers and out of reach of children? | ٱ | ٱ | ٱ | ٱ |
| 2. Is the area around the home kept free of tall grass, weeds and rubbish? | ٱ | ٱ | ٱ | ٱ |
| 3. Is gasoline-powered equipment shut off and allowed to cool before refueling? | ٱ | ٱ | ٱ | ٱ |
| FIRE EMERGENCY PLAN |  |  |  |  |
| 1. Are all sleeping areas of the home equipped with an approved smoke detector? | ٱ | ٱ | ٱ | ٱ |
| 2. Has the family planned what each member will do in case of fire? (Exit routes, meeting places, etc.) | ٱ | ٱ | ٱ | ٱ |
| - Is the Fire Department phone number posed prominently on each telephone? | ٱ | ٱ | ٱ | ٱ |
| 4. Does each member of the family who is old enough to use the phone know how to call the Fire Department? | ٱ | ٱ | ٱ | ٱ |
| 5. Is the residence well-identified by either a special fire number or address sign so it can be located by the Fire Department? | ٱ | ٱ | ٱ | ٱ |
| 6. Has information been made available to local firemen and neighbors concerning such things as bedrooms used by children or invalids, fuse boxes, LPG and gasoline storage, and water supply? | ٱ | ٱ | ٱ | ٱ |
| 7. Do all members of the family who are able to handle a fire extinguisher know how to use one? | ٱ | ٱ | ٱ | ٱ |

###### LIST OF MAJOR HAZARDS IDENTIFIED

Corrected

Yes	No

| 1. |  |
| --- | --- |
| 2. |  |
| 3. |  |
| 4. |  |
| 5. |  |
| 6. |  |
| 7. |  |
| 8. |  |
| 9. |  |
| 10. |  |

##### PROOF OF COMPLETING HAZARD IDENTIFICATION ACTIVITY

I__________________________________________________________certify that

(Property owner, parent, guardian)

_______________________________________________has personally inspected

(Name of Club or Chapter Member)

my home for potential fire hazards___________________

(Date)